# Yanco Agricultural High School

EPA Annual Return Summary - 2017

Monitoring Point 4

| Pollutant | Unit of measure | No. of samples required | No. of samples collected and analysed | Lowest sample value | Mean of Sample | Highest sample value |
| --- | --- | --- | --- | --- | --- | --- |
| pH | pH | 2 | 2 | 0.39 | 0.61 | 0.83 |
| Conductivity | microsiemens per centimetre | 2 | 2 | 321 | 339.5 | 358 |
| Biochemical oxygen demand | milligrams per litre | 2 | 2 | <2 | 4.5 | 10 |
| Total suspended solids | milligrams per litre | 2 | 2 | 4 | 13.5 | 23 |
| Nitrogen (ammonia) | milligrams per litre | 2 | 2 | 1.1 | 4.25 | 7.4 |
| Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | 2 | 2 | <0.1 | 0.2 | 0.4 |
| Faecal Coliforms | colony forming units per 100 millilitres | 2 | 2 | <1 | 5 | 10 |
| Phosphorus (total) | milligrams per litre | 2 | 2 | 0.39 | 0.61 | 0.83 |
| Total Kjeldahl Nitrogen | milligrams per litre | 2 | 2 | 3 | 7 | 11 |

Discharge & Monitoring Point 2

| Unit of measure | Frequency | No. of measurements made | Lowest result | Mean result | Highest result |
| --- | --- | --- | --- | --- | --- |
| kilolitres | Daily | 108 | 1125 | 19125 | 26250 |

Discharge & Monitoring Point 3

| Unit of measure | Frequency | No. of measurements made | Lowest result | Mean result | Highest result |
| --- | --- | --- | --- | --- | --- |
| kilolitres | Daily | 365 | 8424 | 12478 | 487188 |