# Yanco Agricultural High School

EPA Annual Return Summary - 2018

Monitoring Point 4

| Pollutant | Unit of measure | No. of samples required | No. of samples collected and analysed | Lowest sample value | Mean of Sample | Highest sample value |
| --- | --- | --- | --- | --- | --- | --- |
| pH | pH | 2 | 2 | 6.4 | 6.9 | 7.4 |
| Conductivity | microsiemens per centimetre | 2 | 2 | 358 | 361 | 364 |
| Biochemical oxygen demand | milligrams per litre | 2 | 2 | <2 | 2.25 | 3 |
| Total suspended solids | milligrams per litre | 2 | 2 | 3 | 3.5 | 4 |
| Nitrogen (ammonia) | milligrams per litre | 2 | 2 | 1.1 | 1.15 | 1.2 |
| Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | 2 | 2 | 0.4 | 1.9 | 3.4 |
| Faecal Coliforms | colony forming units per 100 millilitres | 2 | 2 | <1 | 5.5 | 10 |
| Phosphorus (total) | milligrams per litre | 2 | 2 | 0.39 | 0.56 | 0.74 |
| Total Kjeldahl Nitrogen | milligrams per litre | 2 | 2 | 2 | 2.5 | 3 |

Discharge & Monitoring Point 2

| Unit of measure | Frequency | No. of measurements made | Lowest result | Mean result | Highest result |
| --- | --- | --- | --- | --- | --- |
| kilolitres | Daily | 536250 | 11250 | 33375 | 45000 |

Discharge & Monitoring Point 3

| Unit of measure | Frequency | No. of measurements made | Lowest result | Mean result | Highest result |
| --- | --- | --- | --- | --- | --- |
| kilolitres | Daily | 2751138 | 3276 | 75373 | 372872 |