# Yanco Agricultural High School

EPA Annual Return Summary - 2019

Monitoring Point 4

| Pollutant | Unit of measure | No. of samples required | No. of samples collected and analysed | Lowest sample value | Mean of Sample | Highest sample value |
| --- | --- | --- | --- | --- | --- | --- |
| pH | pH | 2 | 2 | 7.4 | 7.4 | 7.4 |
| Conductivity | microsiemens per centimetre | 2 | 2 | 364 | 406 | 448 |
| Biochemical oxygen demand | milligrams per litre | 2 | 2 | <2 | 1> | 3 |
| Total suspended solids | milligrams per litre | 2 | 2 | 3 | 4 | 5 |
| Nitrogen (ammonia) | milligrams per litre | 2 | 2 | 0.5 | 0.85 | 1.2 |
| Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | 2 | 2 | 2.6 | 3 | 3.4 |
| Faecal Coliforms | colony forming units per 100 millilitres | 2 | 2 | <1 | 4.5 | 10 |
| Phosphorus (total) | milligrams per litre | 2 | 2 | 0.73 | 1.04 | 1.35 |
| Total Kjeldahl Nitrogen | milligrams per litre | 2 | 2 | <2 | 0 | 2 |

Discharge & Monitoring Point 2

| Unit of measure | Frequency | No. of measurements made | Lowest result | Mean result | Highest result |
| --- | --- | --- | --- | --- | --- |
| kilolitres | Daily | 258750 | 11,250 | 21562.5 | 45,000 |

Discharge & Monitoring Point 3

| Unit of measure | Frequency | No. of measurements made | Lowest result | Mean result | Highest result |
| --- | --- | --- | --- | --- | --- |
| kilolitres | Daily | 365 | 6,552 | 64,960 | 174,564 |