# Yanco Agricultural High School

EPA Annual Return Summary - 2020

Monitoring Point 4

| Pollutant | Unit of measure | No. of samples required | No. of samples collected and analysed | Lowest sample value | Mean of Sample | Highest sample value |
| --- | --- | --- | --- | --- | --- | --- |
| pH | pH | 2 | 1 | 5 | 5 | 5 |
| Conductivity | microsiemens per centimetre | 2 | 1 | 372 | 372 | 372 |
| Biochemical oxygen demand | milligrams per litre | 2 | 1 | <2 | <2 | <2 |
| Total suspended solids | milligrams per litre | 2 | 1 | <0.1 | <0.1 | <0.1 |
| Nitrogen (ammonia) | milligrams per litre | 2 | 1 | 0.3 | 0.3 | 0.3 |
| Nitrate + nitrite (oxidised nitrogen) | milligrams per litre | 2 | 1 | 7.0 | 7.0 | 7.0 |
| Faecal Coliforms | colony forming units per 100 millilitres | 2 | 1 | 0.99 | 0.99 | 0.99 |
| Phosphorus (total) | milligrams per litre | 2 | 1 | 2 | 2 | 2 |
| Total Kjeldahl Nitrogen | milligrams per litre | 2 | 1 | 16 | 16 | 16 |

Discharge & Monitoring Point 2

| Unit of measure | Frequency | No. of measurements made | Lowest result | Mean result | Highest result |
| --- | --- | --- | --- | --- | --- |
| kilolitres | Daily | 365 | 0 | 0.5kl | 22.5kl |

Discharge & Monitoring Point 3

| Unit of measure | Frequency | No. of measurements made | Lowest result | Mean result | Highest result |
| --- | --- | --- | --- | --- | --- |
| kilolitres | Daily | 365 | 7.02kl | 69.025kl | 478.296kl |